THE GOVERNMENT OF THE REPUBLIC OF SOUTH AFRICA THROUGH ITS EMBASSY IN DENMARK COPENHAGEN

TERMS OF REFERENCE

### CONTENTS										PAGE

### 1.	Background									3

### 2.	Project Deliverables								4

### A: Renovations 									4

### B: Maintenance Plan								           6

### 3.	 Quotes

### 6-7

### 4.	Language Requirement							7

### 5.	Compulsory Site Briefing							7

### 6.	Evaluation Criteria to be used						7

### 6.1 Phase 1: Responsiveness							7-8

### 6.2 Phase 2: Functionality Criteria							8-9

### 7.	Special Conditions								10

### 8.	General Conditions								10

### 9.	Fees and Payment Schedule						10

### 10.	Contact Persons and Submissions					11

### Annexure A: Itemised Quoting Schedule

### Annexure B: Maintenance Schedule (SAMPLE of Maintenance plan to be submitted by appointed service provider)

TERMS OF REFERENCE FOR THE APPOINTMENT OF A SERVICE PROVIDER TO EFFECT RENOVATION WORKS AT THE CHANCERY OF THE SOUTH AFRICAN EMBASSY LOCATED AT GAMMEL VARTOV VEJ 8, 2900 HELLERUP

- PURPOSE

  - The purpose of this document is to invite qualified and registered service providers to submit quotations for renovation works as specified to be conducted at Gammel Vartov Vej 8, 2900 Hellerup.

- BACKGROUND

  - The Government of the Republic of South Africa, represented by the Department of International Relations and Cooperation (DIRCO), herein after referred to as ‘The Client’, owns a portfolio of properties abroad, through which it conducts its official business. Properties include Embassies, Consulates-General (offices), Official Residences (for Ambassadors/High Commissioners/Consuls-General) and staff accommodation.

  - This Portfolio is managed by the Client’s in-house component, the Directorate: State Owned Property Management, located at its Head Office in Pretoria, with support from the Head of Mission, Corporate Service Manager, and local staff at the Embassy.

  - The Client conducts some of its repair and maintenance in-house, but most large projects are outsourced to contractors.

  - The Client is currently considering renovation works at its State-owned Chancery in Copenhagen, Denmark, located at Gammel Vartov Vej 8, 2900 Hellerup, Denmark, Copenhagen.

  - For this purpose, the Client is intending to appoint a Building Contractor/ Construction Company to execute critical repair and renovation works. The Service Providers activities will be overseen and directed from the Client’s Pretoria offices and/or by/ with an appointed site project manager(Technical Advisor), with the South African Embassy in Copenhagen being responsible for day to day interactions with the appointed Service Providers. Service Providers can appoint sub-contractors for specific parts of the project but will take full responsibility for the performance of such service providers.

- PROJECT BRIEF / SPECIFICATIONS

# The project is divided into 2 parts namely –

# A:	The execution of already identified renovation works as detailed below; and

# B:	The preparation of a detailed maintenance plan for the facility for a period of 3 years following the completion of the renovation works.

# An architectural drawing of the Chancery maybe requested for ease of reference and in support of identifying locations and area sizes.

# A.	Renovation plan/work description for the Chancery – Refer to Annexure A for an itemized quoting schedule

- Roof covering

Replace entire roof with new roof tiles, trusses, gutters, and down pipes for the main building incl. alignment and insulation of the roof surface incl. vapor barrier.

Replace entire roof with new roof tiles, trusses, gutters, and down pipes for intermediate and secondary building incl. alignment and insulation of the

roof surface incl. vapor barrier

Construction site and scaffolding

- Basement / Foundation

Re-insulation of basement walls and moisture protection

Build and Installation of perimeter drains.

Removal of the old interior cladding and interior plastic paint on inner side of exterior walls and install new interior cladding and repainting strong suitable paint (weather guard).

- Façade

Main Building:

Renovation of the façade, canape, and external sill under the windows.

Restoration of the natural stones of the stair tower

Renovation of the balcony railing and parapet wall.

Secondary building:

Renovation façade and repairing plinth plaster.

Renovation of balcony floor with corrosion protection of cast iron.

Repair drain water nose towards the garden.

- Windows

Provide and install new windows frames and with double glaze windows to match the existing windows (A selection should be provided for The Mission will make choice)

- Exterior doors

Consular

Repair/Restore where possible doors, sanding and vanish with durable paint

Main Entrance

Repair/Restore where possible doors, sanding and vanish with durable paint

- Gates

Replace and installation of new electric motor.

Provide and install new main entrance steel car gate and passage gate

Build a new wall in between the gates

Demolish the existing steel structure and build a wall with a bulletproof window

Service provider to sample of strong gates and design proposal for new wall for Mission selection and approval.

- Floors

Secondary building:

Removing existing carpet

Sanding and vanishing (double coat) of existing wooden floors

Main Building:

Removing existing carpet

Sanding and vanishing of existing wooden floors

Repair /replace any broken wood pieces with matching wood finish.

- Stairs

Renovation of the stairs (minor repair and paint)

Check structure for strength and solidity

Repair or repair broken railings

- Office Bathroom

Head of Mission Bathroom

Remodel/Make over (new plumbing, tiled with new contemporary practical and effective porcelain or similar product and considered structural improvements where necessary e.g. demolishing and rebuilding) and modernised / upgrade by replacing existing old bathroom basin, toilet, shower with new contemporary ones as well as new tap fittings and bath towel rails which should be effective and economical.

General Bathrooms (4 toilet areas on all floors including secondary building toilet)

Remodel/Make over (new plumbing, tiled with new contemporary practical and effective porcelain or similar product and considered structural improvements where necessary e.g. demolishing and rebuilding) and modernised / upgrade by replacing existing old basins and  toilets with new contemporary ones as well as new tap fittings and bath towel rails which should be effective and economical.

  - Design proposals and samples must be shown for the mission to make selection

  - Brass or gold-plated fittings should not be considered.

  - Proper air extraction should be installed to reduce odour for air circulation and ventilation.

- Kitchen

New kitchen installation with durable finishes, separate toilet from kitchen by creating a new entrance. Design and install a new door to separate the toilet from the kitchen.

Provide 3 x 3D designs for client approval.

Provide specified appliances Embassy to provide a list if required.

- Heating system

Demolition and disposal of existing oil furnace.

Install and connect new piping to the district heating system in line with the municipality regulation.

Service and balancing of existing heating systems.

- Drainpipes

Remove existing drainpipes from the balcony which runs into the main office (Head of Mission)

Instal and align new drainpipe along the exterior wall of the office

- Sewerage system

Inspection of sewerage system in the terrain and checking of the possible blockages.

Replacement of sewerage pipes under the property (where possible)

Reconnections of all water installations once repair works have been done

Replacement of domestic water connections relation to municipality lines (where possible)

Service provider to refer to Property condition report on drain and sewerage system.

- Ventilation

Dismantle and dispose of old centralised ventilation systems in the main building and the secondary building

Design and install new centralised ventilation system (service provide to submit a new design options, prior approval)

- Electricity system/ Low current

Upgrade existing electrical systems (total replacement of electrical panels, guide cables, switches, and sockets)

- Fire and Alarm System

Install new modern fire and alarm system in line with municipality regulation

Service provider to provide options various system for approval

- Interior works (Cleaning referring to mould remediation related areas as per Property Condition Report. Renovation referring to removal of wallpaper, preparing of walls, painting, replacing of ceiling and cornices as Property Condition Report)

Main building:

Cleaning and Renovation of interior inner walls in the basement

Cleaning and Renovation of interior walls on the ground floor

Cleaning and Repair of interior walls on the 1st floor

Cleaning and Repair of interior / sloping ceilings walls in the attic.

Cleaning and Repair of interior / ceilings in the basement.

Cleaning and Repair of interior / ceilings on the ground floor

Cleaning and Repair of interior / ceilings on the 1st floor.

Cleaning and Repair of interior / sloping ceilings in the attic 2 floor.

Secondary building:

Cleaning and Renovation of interior walls on the ground floor

Cleaning and Repair of interior / ceilings on the ground floor.

Cleaning and Repair of interior walls on the 1st floor

Cleaning and Repair of interior / ceilings on the 1st floor

- Garden Area

Demolish existing wall and build new garden wall with strong foundation

(Removal of trees that are closer to the wall and tree roots that have damaged the existing wall to sustain the walls)

Landscaping of the garden by providing new grass, flowers, tress and submit a suitable design proposal for Mission approval.

- Car Ports

Design and build 5 new steel-based carports with transparent roof cover leading to the secondary entrance the Mission to protect staff members from rain, snow, and weather-related issues.

- General

Scaffolding and constructions site facilities must be provided by contractor

Rubble removal must be done in accordance with municipality regulations

All regulation in relation to Municipality and Heritage gradings are to be adhered to.

A schedule for quotes is attached as Annexure A.

B.	Maintenance Plan (All service providers are required to submit a maintenance plan).

- After completion of the renovations, Service Providers should supply a full maintenance plan or schedule for the facility covering 3 years.

- This should include service action required, intervals and potential service providers with their contact details.

- Sample of maintenance plan attached as Annexure B

Guarantee and warrantee certificates

- Following the renovations to be undertaken above, Service Providers must supply all guarantees, warrantees, certificates, and permits obtained during the renovations and for items and equipment installed.

- QUOTES

  - Prospective Service Providers that are quoting for the items listed must submit itemised quotes and not a collective amount; (See Annexure A)

  - The summary of works should clearly differentiate between the cost of performing the various services and options listed. (See Annexure A)

  - Detail should be provided of square meterage, volume, height, length, output, and resistance, mass, and other quantifying detail.

  - A Project Plan must accompany all quotes indicating stages and time frames.

  - Bidders should include in their quotes the services of specialists and sub-contractors, should it be necessary and not list these services as additional costs.

  - Products used should be of good quality and design and be able to handle frequent usage. Quality finishes ensuring durability to attain the lifespan requirement. Where possible, Danish Authority certified products should be used.

  - Quotes should be valid for a period of 120 days

  - The appointed contractor should work with the already appointed Technical Advisor to ensure the project stays within budget and time schedule. A bill of quantities will be requested from the Technical Advisor in line with QS standards

- LANGUAGE REQUIREMENT

  - All Quotes submitted to be in English.

- COMPULSORY SITE BRIEFING

  - A compulsory site briefing session should be attended by all bidders on 26 March 2024 at 14:00 pm at Denmark, Copenhagen Gammel Vartov Vej 8, 2900 Hellerup.

- EVALUATION CRITERIA TO BE USED

  - All bids received shall be evaluated in the following 2 phases:

    - Phase 1: Responsiveness

The minimum requirements that must be satisfied/ met by prospective bidders to progress to the next stage of the evaluation process are:

- Bidders must be a registered company in Denmark. Failure to provide proof will lead to the disqualification of bidders.

- Bidders must be tax registered. Failure to provide proof will lead to the disqualification of bidders.

- Bidders must complete Annexure A (pricing schedule). Failure to submit will lead to the disqualification of bidders

- Bidders to provide a commitment letter stating that they will provide a maintenance plan of at least 3 years. Maintenance plan must be in line with Annexure B (Maintenance Plan). Failure to provide letter will lead to the disqualification of bidders.

- Bidders to provide a commitment letter to provide guarantee and warrantee certificates for work done. Failure to provide letter will lead to the disqualification of bidders

- Attendance of compulsory briefing session. Bidders must sign the attendance register.

NOTE: Failure to comply with or submit any of the above information will result in a bid not being considered.

    - Phase 2: Functionality Criteria

Compliance with the special conditions as listed below

A panel shall evaluate all tenders received on the functionality criteria as reflected below. A bidder that scores less than sixty (60%) in respect of “functionality” shall be regarded as submitting a non-responsive bid and shall be disqualified. The bid will not be considered for phase 3: Price and preference points

For purposes of comparison and to ensure a meaningful evaluation, bidders are requested to furnish detailed information in substantiation of compliance with the criteria listed below:

| Criteria | Weight |
| --- | --- |
| Previous experience and references to be evaluated in terms of similar projects completed during the last 3 years and current projects based on the type of project and the value of the project. Submit a table as follows: Client Project Name Project description Date commenced Project Value Date Completed Contact Person Contact Number Matrix 1 year with 1 reference = 1 point 2 years with 2 references = 2 points 3 years with 3 references = 3 points 4 years with 4 references = 4 points 5 years with 5 references = 5 points | 60 |
| An estimated project program reflecting realistic timeframes for the works specified must be provided. An indication must be given on the impact the work will have on the Embassy. The project duration from appointment date (including delivery date for the required material) to close-out must be clearly stated in the quote Matrix 24 months or more = 1 point Between 18 to 24 months = 2 points Between 12 to 18 months =3 points Between 10 to 12 months = 4 points 10 months or less = 5 points | 40 |
| TOTAL | 100 |

- SPECIAL CONDITIONS

  - Specification and quality

- The required products should be of good quality and design and be able to handle frequent usage.

- Quality finishes ensuring durability to attain the lifespan requirement.

- Replacements (in case of breakages and damages) and replenishments (in case of depletions) of products and items usable must be done immediately.

- Should the bidder not be able to deliver a complete service, a joint venture or consortium may be formed, and details thereof submitted to the client for approval. No partial bids will be accepted.  The Government of the Republic of South Africa through its Embassy in Copenhagen, Denmark (hereinafter referred to as “the Embassy”) will conclude one service contract and deal with only the appointed service provider.

- The service provider will be required to submit to the Embassy, certified identification copies of all employees allocated for this project.

- GENERAL CONDITIONS

  - The General conditions of contract will be applicable to this Bid.

  - The Embassy reserves the right to sign a service level agreement with the preferred service provider.

  - The Embassy will not be held responsible for any costs incurred by the service providers in the preparation and submission of the bids.

  - Please take note that the Embassy is not obliged to select any of the service providers submitting proposals.

  - Evaluation on functionality criteria can only be done based on information which was requested and submitted. The comprehensiveness of the quotation can therefore be decisive in the award.

  - The Embassy will not be held responsible for any cost incurred by the service provider in the preparation and submission of the quotations.

  - The Embassy shall not be held liable for any additional costs not stipulated or agreed upon after the parties have concluded an agreement.

  - Service providers must comply with all specification of this request for quotation. If additional information is required, service providers must be prepared to respond in full and attach an addendum the quote, clearly indicating the corresponding relevant section or paragraph to which they are referring.

  - The requirements in this request for quotation are the minimum and non-compliance thereto may result in the service provider being disqualified.

  - Service providers should take note that the  Embassy will pay within 30 days after receipt of invoice and the project has been signed off.

  - The Embassy reserves the right not to continue with the project and/or appoint a Service Provider; cancel and/or limit the terms of reference

- FEES AND PAYMENT SCHEDULE

  - All prices quoted must be in Danish Krone.

  - All prices quoted must include VAT, which will be claimed back by the Embassy.

  - Bidders should take note that the Embassy will pay within 30 days after receipt of invoice and the service has been rendered.

  - Validity of bids

All bids submitted must be valid for a period of 120 days.

- CONTACT PERSONS AND SUBMISSONS

  - Construction companies are hereby invited to submit their quotes for the carrying out the works and outlined under repair deliverable.

  - All documents accompanying the Terms of Reference must be completed in detail where applicable and returned with your proposal.

  - When submitting your bid, the following information must appear on the sealed envelope:

- Name and address of bidder

- Bid Number

- Closing date

  - Proposals must be lodged in physically at the South African Embassy in a sealed envelope.  The envelope must be placed in the bid box, Address: Strandøre 15, 2100, København Ø on or before 03 April 2024, 11:00.

  - Non-compliance with any of the above conditions will result in your bid being disqualified.

  - All inquiries can be directed to Ms Motlatjo Mashala on telephone number: 39 18 01 85 / e-mail address: mashalam@dirco.gov.za and copy Mr Gladwin Komane, komaneg@dirco.gov.za.

Closing Date: 03 April 2024

NB: Late submissions will not be accepted.

ANNEXURE A

Annexure A: Copenhagen Itemised Quoting Schedule for the Chancery Renovation Project

| # | Location | Item | Quantity | Cost | Sub Total |
| --- | --- | --- | --- | --- | --- |
|  | Roof Covering |  |  |  |  |
|  |  | Replace entire roof with new roof tiles, trusses, gutters, and down pipes for the main building incl. alignment and insulation of the roof surface incl. vapor barrier. Replace entire roof with new roof tiles, trusses, gutters, and down pipes for intermediate and secondary building incl. alignment and insulation of the roof surface incl. vapor barrier. Construction site and scaffolding. |  |  |  |
|  | Basement / Foundation |  |  |  |  |
|  |  | Re-insulation of basement walls and moisture protection. Build and Installation of perimeter drains. Removal of the old interior cladding and interior plastic paint on inner side of exterior walls and install new interior cladding and repainting strong suitable paint (weather guard). |  |  |  |
|  | Facade / Plinth |  |  |  |  |
|  | Main Building: | Renovation of the façade, canape, and external sill under the windows. Restoration of the natural stones of the stair tower Renovation of the balcony railing and parapet wall. |  |  |  |
|  | Secondary building: | Renovation façade and repairing plinth plaster. Renovation of balcony floor with corrosion protection of cast iron. Repair drain water nose towards the garden |  |  |  |
|  | Windows |  |  |  |  |
|  |  | Provide and install new windows frames and with double glaze windows to match the existing windows (A selection should be provided for The Mission will make choice) |  |  |  |
|  | Exterior doors |  |  |  |  |
|  | Consular | Repair/Restore where possible doors, sanding and vanish with durable paint |  |  |  |
|  | Main Entrance | Repair/Restore where possible doors, sanding and vanish with durable paint |  |  |  |
|  | Gates / Passages |  |  |  |  |
|  |  | Replace and installation of new electric motor. Provide and install new main entrance steel car gate and passage gate Build a new wall in between the gates Demolish the existing steel structure and build a wall with a bulletproof window Service provider to sample of strong gates and design proposal for new wall for Mission selection and approval. |  |  |  |
|  | Floor |  |  |  |  |
|  | Secondary building: | Removing existing carpet Sanding and vanishing (double coat) of existing wooden floors |  |  |  |
|  | Main Building: | Removing existing carpet Sanding and vanishing of existing wooden floors Repair /replace any broken wood pieces with matching wood finish. |  |  |  |
|  | Stairs |  |  |  |  |
|  |  | Renovation of the stairs (minor repair and paint) Check structure for strength and solidity Repair or repair broken railings |  |  |  |
|  | Office Bathroom |  |  |  |  |
|  | Head of Mission Bathroom | Remodel/Make over (new plumbing, tiled with new contemporary practical and effective porcelain or similar product and considered structural improvements where necessary e.g. demolishing and rebuilding) and modernized / upgrade by replacing existing old bathroom basin, toilet, shower with new contemporary ones as well as new tap fittings and bath towel rails which should be effective and economical. |  |  |  |
|  | General Bathrooms (4 toilet areas) | Remodel/Make over (new plumbing, tiled with new contemporary practical and effective porcelain or similar product and considered structural improvements where necessary e.g. demolishing and rebuilding) and modernised / upgrade by replacing existing old basins and toilets with new contemporary ones as well as new tap fittings and bath towel rails which should be effective and economical. |  |  |  |
|  | Points to considered | Design proposals and samples must be shown for the mission to make selection Brass or gold-plated fittings should not be considered. Proper air extraction should be installed to reduce odour for air circulation and ventilation. |  |  |  |
|  | Kitchen |  |  |  |  |
|  |  | New kitchen installation with durable finishes, separate toilet from kitchen by creating a new entrance. Design and install a new door to separate the toilet from the kitchen. Provide 3 x 3D designs for client approval. Provide specified appliances Embassy to provide a list if required. |  |  |  |
|  | Heating system |  |  |  |  |
|  |  | Demolition and disposal of existing oil furnace. Install and connect new piping to the district heating system in line with the municipality regulation. Service and balancing of existing heating systems. |  |  |  |
|  | Drainpipes |  |  |  |  |
|  |  | Remove existing drainpipes from the balcony which runs into the main office (Head of Mission) Install and align new drainpipe along the exterior wall of the office |  |  |  |
|  | Sewerage system |  |  |  |  |
|  |  | Inspection of sewerage system in the terrain and checking of the possible blockages. Replacement of sewerage pipes under the property (where possible) Reconnections of all water installations once repair works have been done Replacement of domestic water connections relation to municipality lines (where possible) Service provider to refer to Property condition report on drain and sewerage system. |  |  |  |
|  | Ventilation |  |  |  |  |
|  |  | Dismantle and dispose of old centralised ventilation systems in the main building and the secondary building Design and install new centralised ventilation system (service provide to submit a new design options, prior approval) |  |  |  |
|  | Electricity system/ Low current |  |  |  |  |
|  |  | Upgrade existing electrical systems (total replacement of electrical panels, guide cables, switches, and sockets) |  |  |  |
|  | Fire and Alarm System |  |  |  |  |
|  |  | Install new modern fire and alarm system in line with municipality regulation. Service provider to provide options various system for approval |  |  |  |
|  | Interior works |  |  |  |  |
|  | Main building: | Cleaning and Renovation of interior walls and ceilings |  |  |  |
|  | Secondary building: | Cleaning and Renovation of interior walls and ceilings |  |  |  |
|  | Garden Area | Demolish existing wall and build new garden wall with strong foundation (Removal of trees that are closer to the wall and tree roots that have damaged the existing wall to sustain the walls) Landscaping of the garden by providing new grass, flowers, tress and submit a suitable design proposal for Mission approval. |  |  |  |
|  | Car Ports | Design and build 5 new steel-based carports with transparent roof cover leading to the secondary entrance the Mission to protect staff members from rain, snow, and weather-related issues. |  |  |  |
|  | General, |  |  |  |  |
|  |  | Rubble removal must be done in accordance with municipality regulations. All regulation in relation to Municipality and Heritage gradings are to be adhered to. |  |  |  |
|  | Construction site + scaffolding |  |  |  |  |
|  |  | Scaffolding and constructions site facilities |  |  |  |
|  | Estimates work cost for necessary renovation incl. VAT |  |  |  |  |
|  |  | Renovation cost incl. VAT |  |  |  |
|  | Variation costs |  |  |  |  |
|  |  | Unpredictable costs |  |  |  |
|  | Independent Technical advisor |  |  |  |  |
|  |  | Independent Technical advice including design, tender material, cost (bill of quantities), supervision, and project management |  |  |  |
|  | Total | Total |  | GRAND TOTAL |  |
|  | Annual maintenance contract - proposal on monthly bases | Annual maintenance contract - proposal on monthly bases |  |  |  |
|  | Total | Total |  |  |  |
|  |  |  |  | GRAND TOTAL |  |

ANNEXURE B

SAMPLE MAINTENANCE SCHEDULE

| FACILITY: | 2024 |  |  |  |  |  |  |  |  |  | 2025 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun |
| SYSTEM | TASK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrical | Electrical at the point of origin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Circuits and fixed appliance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Semi-portable electrical appliances |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Portable electrical appliances |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Extension leads |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | UPS/Transformers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | DB Boards |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lighting systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Emergency lighting systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lightning Protection/Surge protection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Light Fittings, Plugs and Lifts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Circuit breakers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | batteries |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HVAC | Heater and radiators |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Air conditioners/cooling towers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Test water samples for bacteria |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | hot water systems/Geysers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | boiler plant/burner and gauges |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | chimney |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Steam boilers/ controls and alarms |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Gas-fired boilers /controls and alarms |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cold water drinking water cisterns/Tanks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Air conditioning Filters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Heating system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigeration | Fridges |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cold storage rooms |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | doors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | seals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | alarms |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Structural Outside | Stairs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Doors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Walls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Leaf Clearance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Ditches and watercourses |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Drainage and erosion |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Trees and garden general |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Out buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Chimneys |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Windows |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Canopies |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Roof |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Paintwork/cladding |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Gutters/Balcony roof drainage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | visible leaks and stains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cracks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | foundations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | access road |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | walkways and paving |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Structural inside | Toilets and sanitary equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Staircases |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | doors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | floors/carpets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Walls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Windows |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Bulkheads |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Ducting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Kitchens |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Alarm | Sprinkler heads |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Sensors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Back up battery system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Alarm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Firefighting equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Security system | Cameras and positioning |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | monitors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Power supply and backup |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | emergency procedures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Access control | Effectiveness |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lost cards/keys |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Night lockdown procedures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | sensors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Break glass and emergency exits |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Key register |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Locks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | escape plans |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Services | Water meters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | electricity meters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | waste disposal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Sewerage disposal system/pumps |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Generator | Service |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | exhaust flue |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Switch over mechanism |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Leaks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Storage of fuel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | back up batteries |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Perimeter and fences | Boundary walls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fences and Barriers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Gates |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Guard rails |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clear of vegetation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lighting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Guardhouse |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |